Standard Operating Procedure for working with pressurized gas cylinders

Created by: Yuzhan Li, 02/01/2016

OVERVIEW

This standard operating procedure describes how to work with pressurized gas cylinders.

SAFETY

Gas cylinders must be secured at all times to prevent tipping.

Restrain cylinders of all sizes, whether empty or full. Use straps, chains, or a suitable stand to prevent them from falling.

Emergency Protocols

Immediate danger

- If something happens and you think you, others, or the building is in immediate danger do not hesitate to call 911 and activate the building alarm while evacuating the building.

Emergency Contact Information

Dr. Michael Kessler – Principal Investigator

Office: 509-335-8654

Mitch Rock – Lab Manager

Cell: 515-520-1660

michaelr.kessler@wsu.edu

darman.rock@wsu.edu

PROCEDURE

  - Remove the “IN USE” tag from empty gas cylinder.

  - Remove pressure regulator and put on safety lid.

  - Use wheeled cart to move empty cylinders to ETRL 326B and replace with new ones stored at ETRL 326A.

  - Move full cylinders to the place needed and secure using chains.

  - Remove the “FULL” tag before use .